## Zones
Zone | What happens there | Square feet | Share
Receiving and dry storage | Deliveries checked; shelves 6 inches off the floor | 120 | 10.91%
Walk-in cooler | Raw and cooked kept apart, cooked above raw | 64 | 5.818%
Freezer | Reach-in freezers | 20 | 1.818%
Raw prep | Raw chicken trimmed and seasoned | 90 | 8.182%
Ready-to-eat prep and portioning | Cooked food portioned into containers | 160 | 14.55%
Cooking line, under the hood | Range, oven, kettle | 150 | 13.64%
Cooling | Blast chiller | 30 | 2.727%
Packing and labeling | Lids, labels, cases for pickup | 110 | 10%
Warewashing | Three-compartment sink, drainboards | 80 | 7.273%
Mop sink and chemicals | Service sink; chemicals below and apart from food | 30 | 2.727%
Lockers and break area | Coats, bags, phones, lunches | 50 | 4.545%
Restroom | With its own hand sink | 50 | 4.545%
Office | Desk, records | 40 | 3.636%
Aisles and circulation | What's left | 106 | 9.636%
Total |  | 1100
Lay the zones out in the order food moves: receiving, storage, prep, cooking, cooling, packing, out. Dirty dishes come back without crossing ready-to-eat prep.

## Plan review checks
Check | Rule | Yes or no | Status | Note
Plans submitted before construction or conversion | Food Code 8-201.11 | Yes | OK
Menu and expected volumes in the submittal | Food Code 8-201.12(A), (B) | Yes | OK
Layout, plumbing and electrical schematics, finishes | Food Code 8-201.12(C) | Yes | OK
Equipment list: make, model, location, dimensions, capacity | Food Code 8-201.12(D) | Yes | OK
Hand sink convenient to each prep area, warewashing and the restroom | Food Code 5-204.11 | No | Fix | Packing area had none; one added by the packing table
Dirty dishes return without crossing ready-to-eat prep | Layout | Yes | OK
Raw prep separate from ready-to-eat prep | Layout | Yes | OK
Chemicals stored apart from food, not above it | Food Code 7-201.11 | Yes | OK
50 foot-candles where food is prepared | Food Code 6-303.11(C) | No | Fix | Measured 35 at the portioning table; two fixtures added
20 foot-candles at hand sinks, warewashing and restrooms; 10 in walk-ins and dry storage | Food Code 6-303.11(A), (B) | Yes | OK
Floor and wall junctures coved | Food Code 6-201.13 | Yes | OK
No carpet in prep, warewashing, walk-ins or restrooms | Food Code 6-201.14 | Yes | OK
Lockers or storage for staff belongings, away from food | Food Code 6-305.11, 6-403.11 | Yes | OK
Service sink or curbed floor drain for mop water | Food Code 5-203.13 | Yes | OK
Ventilation enough to clear heat, steam and smoke | Food Code 6-304.11 | Yes | OK | Hood over the cooking line
Food Code 2022 numbers; your health department's plan review, and the building, plumbing and fire codes, decide.

## Read me
Commercial kitchen floor plan worksheet
From the article: https://www.tarostack.com/articles/commercial-kitchen-floor-plan
Zones: each zone, what happens there and its square feet; the share of the space fills in.
Plan review checks: each check with its Food Code rule; mark yes or no, and anything not yet right shows Fix in red.
The example is the article's made-up North Ogden meal prep business moving into a 1,100-square-foot kitchen.
Works in Excel (2010 and later), Google Sheets, LibreOffice and Numbers. No macros.
Free to use and change. Made by TaroStack, inventory and production software for small producers: https://www.tarostack.com