## Calibration log
Date | Instrument | Method | Reference (g) | Reading (g) | Difference | Tolerance (±) | Result | Action taken | Check every (days) | Next check | By
2026-10-05 | Packing scale, 6 kg x 1 g | Zero, empty pan | 0 | 0 | 0 | 1 | Pass |  | 1 | 2026-10-06 | JL
2026-10-05 | Packing scale, 6 kg x 1 g | 200 g test weight, center | 200 | 204 | 4 | 1 | Adjust or replace | Recalibrated; reads 200; held packs since Sep 28 | 7 | 2026-10-12 | JL
2026-10-05 | Packing scale, 6 kg x 1 g | 200 g test weight, corners | 200 | 202 | 2 | 1 | Adjust or replace | Rechecked after recalibration: 200 to 201 | 7 | 2026-10-12 | JL
2026-10-05 | Packing scale, 6 kg x 1 g | 2 kg test weight | 2000 | 2001 | 1 | 2 | Pass |  | 7 | 2026-10-12 | JL
2026-10-05 | Floor scale, 150 kg x 50 g | 20 kg test weight | 20000 | 20050 | 50 | 100 | Pass |  | 30 | 2026-11-04 | JL
2026-10-05 | Bench scale, 600 g x 0.1 g | 100 g test weight | 100 | 100.1 | 0.1 | 0.2 | Pass |  | 7 | 2026-10-12 | JL
2026-10-05 | Bench scale, 600 g x 0.1 g | Same 100 g weight, 5 times | 100 | 100.2 | 0.2 | 0.2 | Adjust or replace | Repeatability: 100.0 to 100.2 | 30 | 2026-11-04 | JL
Check with test weights across the range you use, in the center and the corners, and the same weight several times. Set tolerances from the maker's specification.
Formulas:
Next check = IF(OR([Date]="",[Check every (days)]=""),"",[Date]+[Check every (days)])

## Read me
Scale calibration log
From the article: https://www.tarostack.com/articles/scale-calibration-log
Calibration log: each check's date, scale, method, the test weight and the reading; the difference, pass or adjust against the tolerance, and the next check due fill in.
The example is the article's made-up Appleton cookie maker.
Works in Excel (2010 and later), Google Sheets, LibreOffice and Numbers. No macros.
Free to use and change. Made by TaroStack, inventory and production software for small producers: https://www.tarostack.com