## Calibration log
Date | Instrument | Method | Reference (°F) | Reading (°F) | Difference | Tolerance (±) | Result | Action taken | Check every (days) | Next check | By
2026-10-05 | Probe A, digital | Ice point | 32 | 32.6 | 0.6 | 2 | Pass |  | 7 | 2026-10-12 | MR
2026-10-05 | Probe B, digital | Ice point | 32 | 34.8 | 2.8 | 2 | Adjust or replace | Recalibrated to 32.0, rechecked 32.2 | 7 | 2026-10-12 | MR
2026-10-05 | Dial stem thermometer | Ice point | 32 | 31 | -1 | 2 | Pass |  | 7 | 2026-10-12 | MR
2026-10-05 | Probe A, digital | Boiling point at 5,280 ft | 202 | 202.1 | 0.1 | 2 | Pass | Reference is about 202, not 212, at Denver | 30 | 2026-11-04 | MR
2026-10-05 | Fill line thermometer | Against probe A at the fill | 186.5 | 185 | -1.5 | 2 | Pass |  | 7 | 2026-10-12 | MR
2026-10-05 | Walk-in cooler thermometer | Against probe A in a water glass | 37.4 | 39 | 1.6 | 3 | Pass |  | 30 | 2026-11-04 | MR
2026-10-05 | Freezer thermometer | Against probe A | -2 | 3 | 5 | 3 | Adjust or replace | Replaced, new one reads -1.5 | 30 | 2026-11-04 | MR
Food Code: food thermometers in Fahrenheit within ±2°F, ambient air and water thermometers within ±3°F. Ice point is 32°F at any altitude; boiling point falls as you go higher.
Formulas:
Next check = IF(OR([Date]="",[Check every (days)]=""),"",[Date]+[Check every (days)])

## Read me
Thermometer calibration log
From the article: https://www.tarostack.com/articles/thermometer-calibration-log
Calibration log: each check's date, instrument, method, the reference and the reading; the difference, pass or adjust against the tolerance, and the next check due fill in.
The example is the article's made-up Denver sauce maker. Keep the method and frequency in writing with your food safety plan.
Works in Excel (2010 and later), Google Sheets, LibreOffice and Numbers. No macros.
Free to use and change. Made by TaroStack, inventory and production software for small producers: https://www.tarostack.com